REQUEST FOR QOUTATION

| Description of procurement | Supply and Installation of CCTV Surveillance System for NLA Campus |
| --- | --- |
| RFQ Reference No. | RFQ-SOM-NLA-001/2026 |
| Issue Date | 11 May 2026 |
| Submission Deadline | 25 May 2026 - 23:59 Hours |
| Delivery Location | NLA Campus, Madhamaato Road, Farjano, Kismayo, Somalia |
| Delivery Terms | DAP - Incoterms 2020 |
| Quotation Validity | 60 Calendar Days |
| Submission method | Email: procurement@nla.so |

- Solicitation Overview

The National Leadership Academy (NLA) invites qualified suppliers to submit quotations for the Supply and Installation of CCTV Surveillance System for the NLA Campus in Kismayo, Somalia. The procurement is being conducted through a Request for Quotation (RFQ) process in accordance with NLA procurement procedures for clearly defined goods and installation services.

- Scope of Supply and Services

- Supply of CCTV cameras, NVR, switches, storage devices, cabling and accessories.

- Delivery of all items to the NLA Campus in Kismayo.

- Installation, configuration, testing and commissioning of the CCTV system.

- Provision of labour, mounting materials, connectors and installation accessories.

- Provision of warranty and after-sales support.

- Delivery Requirements

| Delivery Location | NLA Campus, Madhamaato Road, Farjano, Kismayo, Somalia |
| --- | --- |
| Delivery Terms | DAP - Incoterms 2020 |
| Warranty Period | Minimum 12 Months |
| Currency | United States Dollar (USD) |

- Eligibility Requirements

- Company Profile;

- Valid Company Registration Certificate;

- Valid Tax Clearance Certificate;

- At least two similar references or completed assignments

- Submission Instructions

- Quotations shall be submitted electronically to procurement@nla.so  no later than 20 May 2026 at 23:59 Hours.

- The email subject line shall clearly indicate:
RFQ-SOM-NLA-001/2026 - Supply and Installation of CCTV Surveillance System

- Late quotations shall not be considered.

- Evaluation and Award Criteria

Quotations will be evaluated based on the following criteria:

- Compliance with the technical specifications and RFQ requirements;

- Submission of the required eligibility documents;

- Delivery capability and warranty compliance;

- Financial quotation.

Bidders who pass the eligibility and technical compliance requirements shall proceed to financial evaluation.

The contract shall be awarded to the bidder achieving the highest technical compliance and offering the lowest evaluated price among substantially compliant quotations.

- General Conditions

- All prices shall be quoted in USD and shall include transportation, delivery, labour, installation and all incidental costs.

- All supplied goods shall be new, genuine and unused.

- NLA reserves the right to inspect delivered goods before acceptance.

- Payment shall be made after successful delivery, installation and acceptance of goods and services.

- The supplier shall provide a minimum warranty period of twelve (12) months.

- NLA reserves the right to accept or reject any quotation and cancel the procurement process at any stage.

- Any attempt to influence the procurement process through fraudulent or corrupt means shall result in disqualification.

- Technical Specifications and Price schedule

| No | Item Description |  | Unit | Qty | Brand/Model Offered | Unit Price (USD) | Total Price (USD) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Outdoor PTZ Network Surveillance Camera | Minimum 4MP resolution, PTZ functionality, optical zoom capability, IR/night vision, weatherproof outdoor design, intelligent tracking and remote monitoring support | Pcs | 5 |  |  |  |
| 2 | Indoor/Outdoor IP Surveillance Cameras | Bullet and dome type cameras, minimum 4MP/6MP resolution, varifocal lens, IR/night vision, motion detection, weatherproof housing | Pcs | 27 |  |  |  |
| 3 | Network Video Recorder (NVR) | Minimum 32-channel support, 4K recording capability, remote access functionality, video playback and storage management | Pcs | 1 |  |  |  |
| 4 | Surveillance Hard Disk Drive | Minimum 10TB storage capacity, surveillance-grade performance, compatible with 24/7 video recording systems | Pcs | 2 |  |  |  |
| 5 | Outdoor Shielded Cat6 Cable | Shielded Cat6 network cable, waterproof and UV resistant, suitable for outdoor installation and high-speed data transmission | Pcs | 10 |  |  |  |
| 6 | Managed Gigabit Network Switch - 24 Port | Minimum 24 Gigabit Ethernet ports, managed functionality, minimum 2 SFP uplink ports, rack-mountable | Pcs | 1 |  |  |  |
| 7 | Managed Gigabit Network Switch - 8 Port | Minimum 8 Gigabit Ethernet ports, managed functionality, minimum 2 SFP uplink ports | Pcs | 2 |  |  |  |
| 8 | Network Equipment Rack/Cabinet | 9U wall-mounted rack/cabinet suitable for housing networking and surveillance equipment | Pcs | 1 |  |  |  |
| 9 | Smart Display/Television | Minimum 55-inch smart display/TV with wall mounting bracket and HDMI connectivity | Pcs | 2 |  |  |  |
| 10 | 4K HDMI 120M EXTENDER | 4K HDMI 120M EXTENDER | pcs | 1 |  |  |  |
| 11 | Installation Accessories and Consumables (Attach annex with detailed breakdown) | Supply of connectors, clips, conduits, mounting accessories, cable ties, power accessories and other related installation materials | Lump Sum | 1 |  |  |  |
|  | Installation and Commissioning Services (Attach annex with detailed breakdown) | Installation, configuration, testing, commissioning and handover of CCTV and network systems including cabling and equipment setup | Lump Sum | 1 |  |  |  |

| Authorized Signatory: |  |
| --- | --- |
| Name of Firm: |  |
| Signature and Stamp: |  |
| Date: |  |