Request for Proposals (RFP)

Design, Supply, Installation, Soundproof Partitioning, Testing, Commissioning and Training for a Digital Media Studio

| RFP Reference No. | RFP-SOM-NLA-26-006 |
| --- | --- |
| Issue Date | 14th September 2026 |
| Proposal Submission Deadline | 4th October 2026 |
| Contract Duration | Indicatively 10 to 12 weeks from contract signing |
| Duty Station / Site | Kismayo, Jubaland State of Somalia |
| Procurement Method | Open competitive Request for Proposals (vendor-led technical and financial proposals) |
| Submission Email / Address | procurement@nla.so |
| Clarification Contact | NLA Procurement Department through the official procurement email only |

Important note:

This RFP is outcome-based. NLA is not issuing a fixed equipment-by-equipment Bill of Quantities. Bidders must propose the most suitable, creative, technically sound and cost-effective turnkey solution based on the room layout provided by NLA.

# Contents

- Solicitation Overview

- Background and Institutional Context

- Assignment Objectives

- Procurement Approach and Design Philosophy

- Existing Room Layout and Functional Zones

- Scope of Services

- Functional, Technical and Performance Requirements

- Implementation, Testing, Training, Handover and Support

- Deliverables and Indicative Timeline

- Reporting Arrangements and Contract Administration

- Eligibility, Qualifications and Team Composition

- Proposal Preparation and Submission Instructions

- Required Proposal Contents

- Evaluation Method and Award Criteria

- General Conditions of the RFP

- Contracting, Payment and Acceptance Arrangements

- Annexes

# Solicitation Overview

The National Leadership Academy (NLA) invites qualified firms, audiovisual integrators, studio design companies, media production technology firms, consortiums or specialist teams to submit proposals for the design, supply, installation, soundproof partitioning, testing, commissioning, training and handover of a Digital Media Studio at NLA in Kismayo, Jubaland State of Somalia.

The assignment shall be delivered as a complete turnkey solution. The selected contractor will be responsible for transforming one large concrete room into a functional mid-range professional educational media production facility, with appropriate soundproof partitions, acoustic treatment, control room functions, podcast and interview sets, lecture recording capability, webinar and hybrid learning production capability, post-production workflow, furniture, branding, training and warranty support.

NLA intends to use this RFP to obtain both technical and financial proposals from the market. Bidders are expected to compete on design quality, technical functionality, creativity, innovation, durability, ease of use, after-sales support and best value for money. The lowest price alone shall not determine award.

# Background and Institutional Context

The National Leadership Academy is a national institution established to support leadership development, public capacity building, ethical governance, institutional performance and professional learning. NLA delivers leadership programmes, learning sessions, institutional events and communication activities through in-person, blended and digital formats.

As NLA expands its learning delivery through digital and hybrid approaches, the Academy requires an internal media production capability that can produce consistent, high-quality and reusable learning content. Dedicated studio lecture capture and media production facilities are increasingly used in higher education to create video resources for students, support online and blended learning, and reduce dependence on temporary recording arrangements. Dedicated spaces also improve consistency in audio, lighting, camera setup and post-production workflow.

The Digital Media Studio will serve as a permanent production facility for pre-recorded lectures, course introductions, learning modules, podcasts, video interviews, leadership conversations, webinar broadcasts, hybrid training sessions, institutional announcements, public information clips and learning content for NLA platforms, including current and future Learning Management System use.

The final Terms of Reference prepared by NLA confirm that the studio will be developed within one large concrete room that will be partitioned using soundproof systems, accommodate approximately 10 persons at one time, and support a recording room plus control room configuration with podcast, interview, media control, dressing/changing and production areas.

# Assignment Objectives

## Overall Objective

The overall objective is to design, supply, install, test, commission and hand over a fully functional mid-range professional Digital Media Studio capable of supporting educational content production, lecture recording, podcasting, interviews, webinars, live streaming, hybrid learning and institutional media communication for NLA.

## Specific Objectives

Transform the designated concrete room into a functional media production facility with soundproof partitioning and professional acoustic treatment.

Provide a recording room plus control room configuration suitable for approximately 10 users at one time.

Enable professional recording of lectures, training sessions, interviews, podcasts and learning discussions.

Enable full hybrid training and webinar production involving in-room presenters and remote participants.

Provide a vendor-designed equipment configuration that is technically coherent, interoperable, durable and aligned to the room layout and budget.

Ensure that the studio is easy for trained NLA staff to operate without requiring permanent broadcast-level technical personnel.

Provide creative 2D layouts and 3D visual renderings as part of the technical proposal and final approved design.

Provide practical training, user manuals, maintenance guidance, warranty and support arrangements.

# Procurement Approach and Design Philosophy

This RFP is deliberately structured as an outcome-based and vendor-led design-and-build procurement. NLA is not prescribing a fixed BOQ, equipment brand list or rigid studio design. Instead, bidders must propose the most suitable solution to achieve the required functional outputs.

The bidder shall take the NLA layout as an indicative functional concept only. The bidder must review the room, validate dimensions, examine acoustic and operational constraints, and propose an optimized studio design that provides the best balance of production quality, durability, usability, aesthetics and value for money.

Bidders shall propose their own technical solution, including equipment brands, models, quantities, specifications, drawings, furniture, acoustic materials and workflow.

Bidders shall provide 2D drawings and realistic 3D renderings showing how the finished studio will look.

Bidders shall demonstrate how their proposal fits within acceptable budget and still delivers a complete functional core solution.

Bidders may include optional upgrades separately; however, the core technical proposal must be complete, operational and priced within the budget ceiling.

NLA will give strong consideration to creativity, innovation, professional look, user experience, maintainability, local support, warranty and best value for money.

# 5. Existing Room Layout and Functional Zones

NLA has provided an indicative room layout showing the intended functional arrangement of the Digital Media Studio. The layout includes a Media Center / control area, Interview Studio, Podcast Studio, Dressing & Changing area and access passages. The Media Center area is indicated as approximately 22 feet 3 inches by 32 feet 3 inches on the drawing, with passages shown on both sides.

Figure 1: Indicative NLA Media Centre Layout Provided by NLA

The bidder shall not treat the layout as a final technical design. It is a functional concept. Bidders shall use the layout to prepare their own optimized design proposal showing how the space will be partitioned, soundproofed, equipped, lit, branded and operated.

| Functional Zone | Expected Use | Bidder Design Considerations |
| --- | --- | --- |
| Recording / Main Studio | Lecture recording, educational video, presentations, green screen or backdrop recording, hybrid learning sessions. | Camera sight lines, lighting grid, acoustic control, presenter movement, teleprompter/display placement and flexible backdrops. |
| Control Room / Media Center | Technical operation, switching, monitoring, recording, live streaming, editing and production control. | Operator desks, video switcher, audio mixer, monitors, cabling, storage, power protection, ventilation and monitoring workflow. |
| Podcast Studio | Audio/video podcast, small-group discussion and recorded learning conversations. | Podcast table, microphone positions, headphone monitoring, acoustic separation, branding and camera angles. |
| Interview Studio | One-on-one or panel interviews, leadership conversations and media messages. | Comfortable furniture, lighting balance, backdrop design, camera positions and audio clarity. |
| Dressing & Changing Room | Presenter preparation, wardrobe, make-up and storage. | Privacy, mirror, lighting, storage, clean finishes and accessibility. |
| Shared Technical Infrastructure | Power, networking, storage, cabling, routing and system integration. | Safe power, surge protection, cable management, labeling, maintainability and future expansion. |

# Scope of Services

The selected contractor shall provide all design services, professional personnel, labor, equipment, materials, software, accessories, cabling, connectors, mounts, stands, racks, furniture, tools, transportation, installation, testing, documentation, training and warranty support required to deliver a complete and operational studio. The contractor shall be fully responsible for the integration and functionality of the full solution.

## Main Scope Components

Site assessment/visit, site measurement verification and review of the NLA layout and design intent.

Preparation of design concept, 2D layout drawings, 3D visual renderings and technical drawings for NLA approval.

Professional partitioning of the concrete room into functional production zones using soundproof systems and appropriate interior finishes.

Acoustic treatment to achieve clear, controlled and intelligible speech recording quality across lecture, podcast, interview and webinar use cases.

Supply and installation of video production systems, audio production systems, lighting systems, streaming and switching systems, monitoring systems, editing/storage systems and control room equipment.

Provision of furniture, fixtures and NLA branded visual elements required for professional on-camera appearance.

Electrical, networking, cable routing, labeling, power protection and equipment rack/cabinet arrangements required for safe and reliable operation.

Configuration of recording, editing, podcast, webinar, live streaming and hybrid learning workflows.

Testing, commissioning, acceptance demonstrations, documentation, training and final handover.

Warranty, technical support and maintenance arrangements after handover.

## 6.2 Exclusions Unless Explicitly Proposed and Accepted

Major civil works outside the designated studio room, unless required and clearly costed in the proposal.

Internet service subscription fees after handover, unless included as an optional service.

Recurring third-party software subscription costs after handover, unless clearly disclosed and approved.

Content production services after commissioning, unless separately requested by NLA.

# Functional, Technical and Performance Requirements

Bidders shall propose actual brands, models, quantities and specifications. However, the proposed solution must meet the minimum functional and performance requirements below. Bidders must explain how their solution satisfies each requirement in the Technical Compliance Matrix.

## Acoustic and Soundproofing Performance

Partition the room into practical production zones with appropriate sound isolation between recording and control areas.

Control external noise intrusion, internal reflections, flutter echo and excessive reverberation.

Provide suitable acoustic wall panels, ceiling treatment, bass control and sealing of sound leakage points.

Use durable, fire-conscious, cleanable and professionally finished materials appropriate for an institutional environment.

Ensure clear speech intelligibility for lectures, podcasts, interviews and webinar recording.

Provide an acoustic design note explaining the proposed materials, locations, expected benefits and maintenance requirements.

## Video Production Performance

Support multi-camera lecture, interview and podcast recording.

Support at least Full HD production, with bidders encouraged to propose 4K-capable workflows where affordable and appropriate.

Support stable camera mounting, camera monitoring, recording, switching and capture.

Support presenter-facing display, confidence monitor or teleprompter capability where proposed as part of the best-value solution.

Allow easy operation by trained NLA staff without requiring complex broadcast-level expertise.

Support export files suitable for LMS upload, social media, institutional archiving and webinar recordings.

## Audio Production Performance

Support clear multi-person podcast recording and lecturer/presenter recording.

Include suitable microphones for podcast, interviews, lecture capture and hybrid sessions.

Provide audio mixing, monitoring, headphone distribution and recording capability.

Minimize noise, echo, feedback and poor intelligibility during recording and live sessions.

Ensure audio system integrates with video switching, webinar and live streaming workflows.

Provide training on microphone technique, gain setting, recording levels and basic troubleshooting.

## Lighting Performance

Provide professional, controllable and low-heat LED lighting suitable for video recording.

Support lecture, interview and podcast lighting scenarios.

Include key, fill, back and background lighting arrangements as appropriate.

Avoid harsh shadows, flicker, glare and uneven facial lighting.

Enable consistent appearance of NLA-branded backdrops and studio sets.

Ensure lighting controls are easy to understand and safely installed.

## Hybrid Training, Webinar and Live Streaming Performance

Support integration with common webinar platforms and online learning delivery workflows.

Support live switching between camera views, presentation content and audio sources.

Support recording and simultaneous streaming where feasible within the proposed system.

Provide a stable technical setup for hybrid training sessions involving in-room presenters and remote participants.

Enable outputs suitable for LMS, websites and social media platforms.

Provide a practical workflow for one operator or a small NLA media team.

## Editing and Post-Production Performance

Provide at least one capable editing workstation or integrated editing setup for video and audio post-production.

Support editing of lecture videos, podcasts, webinar recordings and promotional clips.

Include storage and backup arrangements suitable for institutional media files.

Include legally licensed or clearly identified software solutions for video editing, audio editing, graphics or production workflow.

Provide file organization, naming, backup and archive guidance for NLA staff.

## Furniture, Interior and Branding Performance

Provide functional, durable and visually professional furniture for podcasting, interviews, control room operation and presenter preparation.

Provide branded visual elements aligned to NLA identity.

Ensure the studio looks professional on camera and supports multiple production formats.

Use finishes that are durable, cleanable, safe and suitable for a training institution.

Provide flexibility so the studio can change between lecture, interview, podcast and webinar setups.

## Electrical, Networking and Cable Management

Provide safe power distribution, cable routing, trunking, labeling and equipment protection.

Provide internal networking and connectivity arrangements needed for streaming, file movement and production workflows.

Include surge protection or power conditioning for sensitive AV equipment.

Ensure installation is neat, safe, maintainable and professionally labeled.

Document all signal flow, cable routes, IP addressing where applicable and power arrangements.

# Implementation, Testing, Training, Handover and Support

The bidder shall propose a structured implementation methodology covering site verification, design, approval, procurement, installation, integration, testing, training, documentation, handover and warranty support. NLA expects a professional project management approach with clear roles, timelines, risks, dependencies and decision points.

## Implementation Methodology

Kick-off meeting and confirmation of communication protocols.

Site verification and validation of dimensions, power, ventilation, access, existing finishes and constraints.

Design development and submission of 2D drawings, 3D renderings, acoustic proposal, equipment schedule and work plan for approval.

Mobilization, procurement and delivery of equipment and materials.

Soundproof partitioning, acoustic treatment, interior finishing, furniture, cable pathways and power/network provisions.

Installation of audio, video, lighting, control room, streaming, editing, storage and network systems.

Configuration, integration, labeling and preparation of operating workflows.

Testing, issue resolution, commissioning, training and final handover.

## Testing and Acceptance Demonstrations

| Acceptance Test | Expected Result |
| --- | --- |
| Lecture Recording Test | Record a lecturer/presenter with clear audio, clear video, suitable lighting, presentation capture where proposed and usable output file. |
| Podcast Test | Record a multi-person podcast with balanced voices, headphone monitoring, minimal echo/noise and appropriate camera framing if video podcast is included. |
| Interview Test | Record an interview with professional framing, lighting, backdrop and intelligible audio. |
| Hybrid Webinar Test | Produce a live or simulated webinar with camera, audio, presentation and streaming integration. |
| Control Room Test | Operator monitors audio/video, switches sources, records, streams and manages output from control room. |
| Editing Test | Recorded content is transferred, edited, exported and stored using the supplied workflow. |
| Documentation Review | All manuals, as-built drawings, warranties, licenses and asset registers are complete. |
| Training Verification | NLA staff demonstrate basic operation and troubleshooting of the studio. |

## Training Requirements

Studio start-up and shut-down procedures.

Lecture recording workflow.

Podcast recording workflow.

Interview recording workflow.

Webinar and live streaming workflow.

Camera, microphone, audio mixer/interface and lighting basics.

Editing, exporting, file naming, storage and backup procedures.

Routine maintenance, cleaning, troubleshooting and reporting of faults.

Administrator or technical user training for NLA focal persons.

## Handover Requirements

Final handover report and completion certificate request.

As-built drawings and final equipment layout.

Asset register with serial numbers, warranty periods and supplier details.

User manuals, quick-start guides and maintenance checklist.

Software licenses and access credentials where applicable.

Warranty certificates and support escalation contacts.

Training attendance sheets and training materials.

# Deliverables and Indicative Timeline

The indicative assignment duration is 10 to 12 weeks from contract signing. Bidders may propose an optimized timeline, but the proposed schedule must be realistic and must not compromise quality. NLA may adjust dates during contracting.

| # | Deliverable | Description | Indicative Timeline | Indicative Pay % |
| --- | --- | --- | --- | --- |
| 1 | Inception Report and Site Verification Report | Kick-off findings, confirmed methodology, verified dimensions, constraints, risk register and implementation plan. | Week 1 | 10% |
| 2 | Detailed Design Package | 2D layout, 3D renderings, acoustic design note, equipment schedule, furniture/branding plan, cabling/power/network plan and work plan. | Weeks 2-3 | 15% |
| 3 | Equipment and Materials Delivery | Delivery of major approved equipment and materials to site, verified by NLA against approved schedule. | Weeks 4-5 | 25% |
| 4 | Studio Infrastructure Works | Completed partitioning, soundproofing, acoustic treatment, interior finishes, cable pathways and furniture/set preparation. | Weeks 6-8 | 20% |
| 5 | Installed and Integrated Studio Systems | Audio, video, lighting, streaming, editing, control room, network and storage systems installed, configured and integrated. | Weeks 9-10 | 15% |
| 6 | Commissioning, Training and Final Handover | Successful testing, commissioning, staff training, documentation, warranties, asset register and final acceptance. | Weeks 11-12 | 15% |

Note: Payments shall be made only against accepted deliverables and valid invoices. The final payment schedule may be adjusted in the final contract in line with NLA procurement rules.

# Reporting Arrangements and Contract Administration

The selected contractor shall report to the designated NLA Project Manager or assigned technical focal point.

Secondary technical coordination shall be maintained with the Communication/Media focal person, IT focal point, Procurement Department and any other NLA personnel designated for the assignment.

The contractor shall participate in a kick-off meeting before commencement of work.

The contractor shall submit weekly progress reports covering work completed, work planned, challenges, risks, decisions required and revised timelines where applicable.

All major design decisions, equipment substitutions, scope changes or budget reallocations must be approved by NLA in writing before implementation.

NLA shall review and approve major deliverables including final design, equipment schedule, installation completion, commissioning results and final handover.

The contractor shall maintain site safety, cleanliness, asset security, protection of NLA premises and coordination with NLA staff throughout implementation.

The contractor shall be responsible for subcontractors, suppliers, technicians and personnel deployed under its contract.

# Eligibility, Qualifications and Team Composition

## Eligibility and Firm Experience

Legally registered firm, company, consortium or joint venture eligible to undertake the assignment.

Minimum five years of demonstrable experience in audiovisual systems, studio setup, broadcasting, multimedia production facilities, acoustic treatment, soundproofing or related assignments.

At least three similar completed assignments involving media studios, podcast studios, lecture capture rooms, webinar facilities, training studios, broadcast rooms, institutional AV installations or comparable integrated audio-visual projects.

Demonstrated ability to provide integrated design, supply, installation, testing, training and after-sales support.

Ability to provide new and genuine equipment with warranty and manufacturer or authorized supplier support.

Experience working with educational institutions, training centres, NGOs, government institutions, media organizations or corporate communication facilities will be an added advantage.

Financial, logistical and technical capacity to deliver within the agreed timeline and budget.

## Key Personnel

| Key Position | Minimum Experience | Core Requirements / Competencies |
| --- | --- | --- |
| Project Manager | Minimum 7 years of relevant project management experience in AV, media, ICT, construction fit-out or studio implementation. | Project planning, coordination, risk management, reporting, stakeholder engagement and quality control. |
| Studio / AV Systems Specialist | Minimum 5 years of experience designing and integrating audio, video, lighting, recording and streaming systems. | System design, signal flow, equipment integration, control room workflow and user-friendly operation. |
| Acoustic / Soundproofing Specialist | Minimum 5 years of experience in acoustic treatment, sound isolation or studio interior design. | Acoustic design, materials selection, sound leakage mitigation and speech intelligibility. |
| Video Production / Broadcast Technician | Experience in camera systems, switching, monitoring, recording, streaming and live production workflows. | Camera setup, video switching, framing, recording and streaming quality. |
| Audio Engineer | Experience in microphones, mixers, audio routing, recording, monitoring, podcast production and live audio. | Audio clarity, gain structure, microphone selection, echo/noise control and podcast workflow. |
| ICT / Network Technician | Experience in network cabling, connectivity, storage, streaming connectivity and equipment configuration. | Networking, cabling, storage, power protection, labeling and file transfer workflows. |
| Trainer | Experience training non-technical institutional users on media equipment operation and basic troubleshooting. | Training materials, demonstrations, user guides and knowledge transfer. |

# Proposal Preparation and Submission Instructions

- Proposals shall be prepared in English.

- Bidders shall submit separate Technical Proposal and Financial Proposal documents. Financial information must not appear in the technical proposal.

- Proposals received after the submission deadline shall be rejected unless NLA issues a written amendment extending the deadline.

- All communications regarding this RFP shall be directed only to the official procurement email stated in the solicitation notice.

- Clarification questions must be submitted in writing before the clarification deadline indicated in the procurement schedule.

- NLA may issue written addenda to clarify or amend the RFP. Bidders shall acknowledge receipt of all addenda in their submission.

- Proposals should remain valid for at least 120 calendar days from the submission deadline unless otherwise stated by NLA.

NLA reserves the right to accept or reject any proposal, cancel the procurement, request clarifications, negotiate minor aspects with the preferred bidder or not award a contract.

Bidders are strongly encouraged to attend the site visit if scheduled by NLA, as the final solution must be based on actual site conditions.

| Activity | Date |
| --- | --- |
| RFP issue date | 14th September 2026 |
| Pre-bid site visit | 26th September 2026 |
| Deadline for clarification questions | At least 4days before submission deadline |
| Responses to clarifications / addendum | 3 days before submission deadline |
| Proposal submission deadline | 4th October 2026 |
| Opening / administrative review | TBD |
| Technical evaluation period | TBD |
| Bidder presentations / clarification meetings | TBD |
| Financial evaluation | TBD |
| Notification of award | TBD |
| Expected contract start | TBD |

# Required Proposal Contents

## Technical Proposal

- Signed proposal submission letter and bidder information form.

- Company profile, legal registration documents, valid business license and tax compliance certificate where applicable.

- Understanding of the assignment and response to the Terms of Reference.

- Design narrative explaining the proposed studio concept, workflow, user experience and production capacity.

- Proposed 2D layout drawing showing partitioning, furniture, camera positions, microphone positions, lighting positions, control room arrangement, doors, circulation and cable routes.

- Realistic 3D renderings / visual graphics showing how the completed studio will look, including podcast set, interview set, control room, branding, lighting mood and finishes.

- Acoustic and soundproofing approach, including proposed materials and expected performance benefits.

- Equipment schedule by category, quantity, brand/model, key specifications, purpose, warranty, country of origin where applicable and support arrangements.

- Technical methodology for supply, installation, integration, testing, commissioning and training.

- Implementation work plan with Gantt-style schedule, staffing plan, delivery plan and risk mitigation measures.

- Team composition, level of effort, roles and responsibilities, availability of key experts and CVs.

- At least three relevant references or similar assignments completed in the last five years.

- Quality assurance, testing, commissioning, training, documentation and support approach.

- Maintenance, warranty, after-sales support, spare parts availability and local service arrangements.

- Sustainability and scalability approach, including upgrade pathway and avoidance of unnecessary vendor lock-in.

- Risk analysis and mitigation strategy.

- Value-for-money justification explaining major cost drivers, trade-offs and why the proposed solution is the best fit for NLA.

## Financial Proposal

- One signed financial proposal stating the total lump-sum price in USD.

- Itemized cost breakdown by major cost category, including design, soundproofing/acoustic works, audio system, video system, lighting system, streaming/webinar system, editing/storage, furniture/branding, networking/electrical/cabling, installation/labor, training/documentation, warranty/support, transport, taxes and any other costs.

- Confirmation that the proposed core solution is complete.

- Clear statement of any exclusions, assumptions, optional upgrades or recurring costs.

- Proposed payment schedule aligned with the deliverables, if different from the suggested schedule in this RFP.

- Confirmation that all equipment, materials, accessories, software, licenses, cabling and implementation costs required for full operation are included.

# Evaluation Method and Award Criteria

NLA will evaluate proposals using a combined technical and financial scoring method. Only bidders that pass the preliminary responsiveness review and achieve the minimum technical threshold shall proceed to financial evaluation. NLA may invite technically responsive bidders for a presentation, design walkthrough or clarification meeting before final scoring.

## Preliminary Responsiveness Review (Pass/Fail)

Submission received on time.

Technical and financial proposals submitted separately.

Proposal submission letter signed by an authorized representative.

Required legal, company registration, tax compliance, company profile and other supporting documents attached.

## 14.2 Technical Evaluation Criteria

| Criterion | Max Score | Minimum Guide | Notes |
| --- | --- | --- | --- |
| A. Firm experience in AV, studio, broadcast, acoustic or educational media projects | 15 | 9 | Relevant completed assignments, institutional experience, client references and ability to deliver turnkey solutions. |
| B. Understanding of NLA requirements and methodology | 15 | 9 | Understanding of lecture recording, podcasting, interviews, webinars, hybrid learning, workflow and practical implementation. |
| C. Creativity, innovation and studio design quality | 20 | 12 | Quality of 2D layout, 3D renderings, aesthetics, branding, space optimization, flexibility and user experience. |
| D. Proposed equipment and system integration | 20 | 12 | Suitability, compatibility, durability, warranty, ease of operation, interoperability and value of the proposed equipment package. |
| E. Team qualifications and availability | 10 | 6 | Qualifications and experience of project manager, AV specialist, acoustic specialist, audio/video technicians, ICT/network technician and trainer. |
| F. Work plan, risk management and quality assurance | 10 | 6 | Realistic schedule, logistics, QA process, testing plan, risk mitigation and site management approach. |
| G. Training, documentation, maintenance and support | 10 | 6 | Practical training, user manuals, maintenance plan, warranty response, local support and knowledge transfer. |

Minimum required overall technical score to proceed to financial evaluation: 70/100.

## 14.3 Financial Evaluation

Financial proposals of bidders meeting the minimum technical threshold shall be evaluated. The financial score shall normally be calculated as follows:

Financial Score = (Lowest Evaluated Price / Bidder Price) x 20

Combined Score = Technical Score x 80% + Financial Score

NLA may treat abnormally low or incomplete bids as non-responsive if the price is not realistic for the full scope. The selected proposal shall represent the best value for money, not merely the lowest cost.

## 14.4 Final Award

The contract shall be awarded to the bidder with the highest combined score, subject to successful due diligence, reference checks, negotiation of minor points, confirmation of final scope and approval by NLA competent authority. NLA may also conduct a best-and-final clarification with the highest-ranked bidder to optimize scope within the budget ceiling without compromising essential functionality.

# General Conditions of the RFP

- NLA may request clarifications from any bidder without permitting changes that materially alter the proposal.

- All submitted documents become part of the procurement record. Confidential information should be clearly marked; pricing information shall remain available for evaluation purposes.

- The successful bidder shall enter a written contract with NLA before commencement of services.

- Payment shall be made against approved deliverables and valid invoices in accordance with the signed contract.

- Ownership of all deliverables, drawings, designs, renderings, configurations, documentation, training materials and outputs produced under the contract shall vest in NLA unless otherwise specified in the final contract.

- The bidder shall disclose any subcontractors, consortium partners, third-party tools, licenses, recurring costs or dependencies and shall remain fully responsible for contract performance.

- NLA may terminate the contract for non-performance, prolonged delay, insolvency, conflict of interest, fraud, corruption, misrepresentation or convenience, subject to the terms of the final contract.

- The bidder shall maintain confidentiality of all institutional data, documents, layouts, credentials, media outputs, operational processes and technical information accessed during the assignment.

- The bidder shall not process, share, publish, transfer or disclose NLA information except as approved in writing by NLA.

- Any proposed commercial or third-party software must be clearly disclosed, including licensing terms, recurring costs, maintenance requirements and upgrade pathways.

- All equipment supplied must be new, genuine, fit for purpose and supplied with accessories required for operation.

- NLA reserves the right to reject proposals that contain hidden costs, unrealistic assumptions, incomplete equipment packages or unsupported claims.

# Contracting, Payment and Acceptance Arrangements

## Contract Type

The expected contract type is a fixed-price/lump-sum turnkey contract linked to approved deliverables and milestones. The contractor shall be responsible for completing the full operational studio within the accepted contract price.

## Payment Terms

Payments shall be milestone-based and made only after NLA approves the relevant deliverable. No payment shall constitute final acceptance unless expressly stated in writing. NLA may withhold payment for incomplete, defective or non-compliant deliverables until corrective action is completed.

## Warranty and Support

Minimum 12-month warranty on all equipment and installation works.

Warranty must cover defects in equipment, installation, configuration and workmanship.

Bidder must provide support response time, escalation contacts and support procedures.

Bidder must identify availability of spare parts, consumables and replacement accessories.

Bidder must provide at least one preventive maintenance visit during the warranty period where feasible within the contract value.

All equipment must be new, genuine, fit for purpose and supplied with relevant accessories.

## Acceptance and Defects Liability

Final acceptance shall be granted only after all physical works, equipment installation, integration, testing, commissioning, training, documentation, warranties, asset registers and handover requirements are completed to NLA satisfaction. Any defects identified during commissioning or warranty period shall be corrected by the contractor within agreed timelines.

# Annexes

The annexes below form part of this RFP and should be completed by bidders where applicable.

# Annex 1 - Terms of Reference / Scope of Work Summary

The selected firm shall perform all services required to design, supply, install, test, commission and hand over a complete Digital Media Studio for NLA. The scope includes site verification, detailed studio design, soundproof partitioning, acoustic treatment, audio/video/lighting/streaming/editing systems, furniture, branding, training, documentation, warranty and final acceptance.

Conduct site assessment and stakeholder consultations.

Develop optimized 2D and 3D studio design based on the NLA layout and site conditions.

Deliver acoustic and soundproofing treatment suitable for speech recording and educational media production.

Supply, install and integrate professional mid-range equipment for lecture recording, podcasting, interviews, webinars and hybrid learning.

Provide complete testing, commissioning, training, documentation, warranties and handover.

# Annex 2 - Financial Proposal Form

| No. | Cost Item | Description | Unit | Amount (USD) | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Design and technical drawings | Site assessment, 2D layout, 3D renderings, technical design | LS |  |  |
| 2 | Soundproofing and acoustic works | Partitions, doors, acoustic panels, ceiling treatment, sealing and finishes | LS |  |  |
| 3 | Audio system | Microphones, mixer/interface, headphones, speakers and accessories | LS |  |  |
| 4 | Video system | Cameras, tripods/mounts, switcher, capture/recording and monitors | LS |  |  |
| 5 | Lighting system | LED lights, stands/mounts, controls and background lighting | LS |  |  |
| 6 | Streaming and webinar system | Encoder/software/capture and integration equipment | LS |  |  |
| 7 | Editing and storage | Workstation, monitors, storage and software/licenses | LS |  |  |
| 8 | Furniture and branding | Podcast table, interview set, operator desks, chairs, backdrops and signage | LS |  |  |
| 9 | Networking, electrical and cabling | Switches, cabling, cable management and power protection | LS |  |  |
| 10 | Installation and labor | Installation, configuration and technical labor | LS |  |  |
| 11 | Training and documentation | Training delivery, manuals, quick guides and handover documents | LS |  |  |
| 12 | Warranty and support | Warranty service, support and maintenance provisions | LS |  |  |
| 13 | Transport, taxes and other costs | All other costs to complete the assignment | LS |  |  |
| 14 | Grand Total | Total price in USD | LS |  |  |

Note: The bidder may also provide the financial proposal using its own template, provided that all required cost categories are clearly presented.

# Annex 3 - Proposal Submission Letter

Date: ____________________

To: National Leadership Academy

Subject: Proposal Submission for Design, Supply, Installation, Testing and Commissioning of a Digital Media Studio

Dear Evaluation Committee,

Having examined the Request for Proposals and all related annexes, we hereby submit our proposal for the Design, Supply, Installation, Soundproof Partitioning, Testing, Commissioning and Training for a Digital Media Studio for the National Leadership Academy. We confirm that our technical and financial proposals have been prepared in accordance with the RFP requirements and that our proposal remains valid for the period stated in the RFP.

Authorized Signatory: ____________________

Title: ____________________

Name of Firm / Consortium: ____________________

Address: ____________________

Email and Phone: ____________________

Signature and Stamp: ____________________

# Annex 4 - Bidder Information and References

Legal name of bidder: ____________________

Country of registration: ____________________

Registration number: ____________________

Contact person: ____________________

Email / Phone: ____________________

| Client | Assignment Title | Country | Period / Value | Contact Details |
| --- | --- | --- | --- | --- |

Note: Please attach supporting documents or completion certificates for similar contracts where available.

# Annex 5 - Bidder Self-Declaration and Conflict of Interest Statement

We declare that our firm / consortium and proposed experts are not subject to any conflict of interest that would improperly affect this procurement or the execution of the assignment.

We confirm that neither the firm nor any proposed team member has engaged in fraud, corruption, collusion, coercion, misrepresentation or any prohibited practice in connection with this procurement.

We undertake to disclose without delay any actual or potential conflict of interest arising before award or during contract implementation.

We understand that any false declaration may lead to disqualification, contract termination or other remedies available to NLA.

Authorized Signatory: ____________________

Date: ____________________

Name of Firm / Consortium: ____________________

Official Stamp: ____________________

# Annex 6 - Proposal Submission Checklist

| Item | Included | Remarks |
| --- | --- | --- |
| Signed proposal submission letter | ☐ |  |
| Technical proposal | ☐ |  |
| Financial proposal in separate file/envelope | ☐ |  |
| Firm registration certificate | ☐ |  |
| Tax compliance certificate / equivalent | ☐ |  |
| Company profile | ☐ |  |
| 2D layout drawing | ☐ |  |
| 3D renderings / visual graphics | ☐ |  |
| Equipment schedule with brand/model/specification/warranty | ☐ |  |
| CVs of key experts | ☐ |  |
| Three relevant references | ☐ |  |
| Conflict of interest / self-declaration | ☐ |  |
| Acknowledgement of addenda, if any | ☐ |  |
| Somalia partnership or local support evidence, if available | ☐ |  |
| Any other document required by the RFP | ☐ |  |

# Annex 7 - Technical Compliance Matrix

| Requirement | Bidder Response / Compliance | Reference in Proposal |
| --- | --- | --- |
| Soundproof partitioning and acoustic treatment suitable for recording, podcasting and interviews |  |  |
| Multi-camera lecture, interview and podcast recording capability |  |  |
| Professional audio capture for lecturers, interviewees and multi-person podcast sessions |  |  |
| Controllable LED lighting for lecture, interview and podcast scenes |  |  |
| Hybrid webinar and live streaming workflow with camera, audio and presentation integration |  |  |
| Control room / media center workflow for switching, monitoring, recording and streaming |  |  |
| Editing and storage workflow for lectures, podcasts and promotional videos |  |  |
| Furniture, set design and NLA-branded backdrops suitable for professional on-camera appearance |  |  |
| Safe electrical, networking, cabling, power protection and cable labeling |  |  |
| 2D design drawings and 3D visual renderings submitted |  |  |
| Testing, commissioning, training, manuals, warranties and handover documents |  |  |
| Disclosure of licensing, maintenance, spare parts and recurring costs |  |  |

# Annex 8 - Equipment Schedule Template

| Category | Item Description | Brand / Model | Quantity | Key Specifications | Purpose / Use | Warranty |
| --- | --- | --- | --- | --- | --- | --- |
| Audio |  |  |  |  |  |  |
| Video |  |  |  |  |  |  |
| Lighting |  |  |  |  |  |  |
| Streaming / Webinar |  |  |  |  |  |  |
| Editing / Storage |  |  |  |  |  |  |
| Furniture / Branding |  |  |  |  |  |  |
| Acoustic / Interior Materials |  |  |  |  |  |  |
| Networking / Electrical |  |  |  |  |  |  |

# Annex 9 - Key Personnel CV Summary Form

| Name | Proposed Role | Education | Years of Relevant Experience | Relevant Projects / Level of Effort |
| --- | --- | --- | --- | --- |

# Annex 10 - Site Visit Confirmation Form

Bidder Name: ____________________

Representative Name: ____________________

Date of Site Visit: ____________________

NLA Representative: ____________________

Signature of Bidder Representative: ____________________

Signature of NLA Representative: ____________________

Note: Attendance at a site visit may be mandatory or optional depending on the final solicitation notice issued by NLA. Where mandatory, failure to attend may affect responsiveness.